XCLEAR 130 W AMALGAM UV-C WITH FLOW SWITCH

130 W Amalgam UV-C ist für Anwendungen geeignet, bei denen jederzeit eine konstant starke Strahlung erforderlich ist.

• Einschließlich Durchflussschalter (Flow Switch), um die Lampe bei zu geringem Durchfluss auszuschalten.

• Mit hochwertiger 130 W Philips Amalgam-Lampe.

• Amalgamlampen werden weniger von Temperaturschwankungen im Wasser beeinflusst.

• Konstant starke Strahlung.

• Edelstahlgehäuse für maximale Lebensdauer.

• Einschließlich 63-mm-Klebeverbindung aus PVC mit Adapter für 50 mm/1½”-Innengewinde.

| Art.Nr. | Typ | UV-C Lampe | Max. Teich | Max. Durchfluss | Max. Druck |
| --- | --- | --- | --- | --- | --- |
| XH06132 | 130 W Amalgam UV-C incl. flow switch | 130 W Amalgam | 130.000 l | 30 m3/h – 500l/min | 2 bar |

130 W AMALGAM UV-C WITH FLOW SWITCH ERSATZTEILE

| Item No. | Type | Part |
| --- | --- | --- |
| XH06132 | Xclear Tech UV-C 130 W Amalgam |  |
| E800904 | Lamp Philips TUV XPT 130 W 4P-SE Amalgaam Base E | A |
| QG012 | Quartz Glass VSC 920 x 30 mm 130 / 140 W AM | C |
| E800912 | Set (3pcs) O-ring for quartz glass | B |
| EP130001 | Electrics 130 W Amalgam UV-C with flow switch | G |
| 3903670 | Housing for Amalgam UV-C 130 W | H |
| E800940 | 3-way connection 63 mm black | D |
| E800941 | O-ring for 3-way connection 63 mm | F |
| F990115 | Reduction piece 1,5" wire x 63 out 50 in | E |
| B290020 | Reduction piece 63/63 for flow switch | I |
| B290021 | Reduction piece 60/60 with 3/4" screw wire for flow switch amalgam | I |
| E801220 | Flow Switch | P |
| 3901045 | Nut 70mm x 33.5mm black | K |
| SP0073 | O-ring EPDM 59.99x2.62 Quartz Glass Stabilizer End cap black 32mm | J |

| *Optional |  |  |
| --- | --- | --- |
| B290177 | Tapping saddle 50x3/4" male thread for flow switch | V |
| B290170 | Tapping saddle 63x3/4" male thread for flow switch | V |
| B290176 | Tapping saddle 75x3/4" male thread for flow switch | V |