XCLEAR JUMBO TECH UV-C

Aufgrund seiner kurzen Länge und kompakten Größe eignet sich der Tech UV-C ideal für Filterinstallationen, bei denen der Platz begrenzt ist, aber eine hohe Desinfektionseffizienz erforderlich ist.

• Einfach zu installieren.

• Ausgestattet mit einer 40 W oder 75 W T5 UV-C Lampe.

• Edelstahlkörper für maximale Haltbarkeit.

• Konkurrenzfähiger Preis.

• Inklusive 63 mm PVC-Anschlussarmaturen mit Adaptern für 50 mm Innengewinde Einfädeln

• Einschließlich Schlauchanschlüsse 1½ ”- 40/32 / 25mm.

• Die Länge des Desinfektionssystems beträgt nur 85 cm.

| Art.Nr. | Typ | UV-C Lampe | Max. Teich | Max. Durchfluss | Max. Druck |
| --- | --- | --- | --- | --- | --- |
| XH04402 | Jumbo Tech UV-C 40 W | 40 W Tech T5 | 40.000 l | 20 m3/h – 330 l/min | 2 bar |
| XH04752 | Jumbo Tech UV-C 75 W | 75 W Tech T5 | 75.000 l | 25 m3/h – 417 l/min | 2 bar |

Jumbo Tech UV-C Ersatzteile

| Item No. | Type | Part |
| --- | --- | --- |
| XH04402 | Xclear Jumbo Tech UV-C 40 W |  |
| XH04752 | Xclear Jumbo Tech UV-C 75 W |  |
| F980002 | Lamp VGE T5 40 W 4P Base F | A |
| F980004 | Lamp VGE T5 75 W 4P Base F | A |
| QG015 | Quartz Glass VSC 933 x 25 mm 40/75/80 W AM | C |
| 3902041 | O-ring NBR 56x3 | B |
| EP040001 | Electrics Tech UV-C 40 W | G |
| EP075001 | Electrics Tech UV-C 75 W | G |
| 3903788 | Housing Jumbo Tech UV-C 40/75 W | H |
| E800940 | 3-way connection 63 mm black | D |
| E800941 | O-ring for 3-way connection 63 mm | F |
| F990115 | Reduction piece 1,5" wire x 63 out 50 in | E |
| 3901045 | Nut 70mm x 33.5mm black | J |
| SP0073 | O-ring EPDM 59.99x2.62 Quartz Glass Stabilizer End cap black 32mm | I |