XCLEAR PROFESSIONAL UV-C Ø110

Professional UV-C ist die beste Lösung, um den Druck am Kopfteil zu senken.

• 110-mm-Anschlüsse.

• Edelstahlgehäuse mit 110 mm Durchmesser für maximale Lebensdauer.

• Ideal für schwerkraftgespeiste Systeme.

• Ideal in Kombination mit Niederdruckpumpen.

• Erhältlich mit Philips T5 oder T6 Amalgam-Lampe für optimale Leistung.

• Die 130 W T6 Amalgam Version besitzt einen Durchflussschalter (Flow Switch), um die Lampe bei zu geringem Durchfluss auszuschalten.

| Art.Nr. | Typ | UV-C Lampe | Max. Teich | Max. Durchfluss | Max. Druck |
| --- | --- | --- | --- | --- | --- |
| XH07752 | Professional UV-C Ø110 75 W | 75 W T5 | 75.000 l | 20 m3/h – 330 l/min | 2 bar |
| XH07132 | Professional UV-C Ø110 130 W | 130 W T6 Amalgam | 130.000 l | 40 m3/h – 660 l/min | 2 bar |

PROFESSIONAL UV-C Ø110 ERSATZTEILE

| Item No. | Type | Part |
| --- | --- | --- |
| XH07752 | Xclear Professional UV-C Ø 110 T5 75 W |  |
| XH07132 | Xclear Professional UV-C Ø 110 Amalgam 130 W 1 |  |
| E800902P | Lamp Philips TUV 36T5 75 W HO 4P-SE Base C AM | A |
| E800904 | Lamp Philips TUV XPT 130 W 4P-SE Amalgaam Base E | A |
| QG015 | Quartz Glass VSC 933 x 25 mm 40/75/80 W AM | C |
| QG012 | Quartz Glass VSC 920 x 30 mm 130 / 140 W AM | C |
| 3902041 | O-Ring 56 x 3 mm UV-C | D |
| EP075002 | Electrics Jumbo UV-C 75 W | G |
| EP130001 | Electrics 130 W Amalgam UV-C + flow switch | G |
| 3903671 | Housing Professional UV-C Ø110 75 W T5 | H |
| 3903672 | Housing Professional UV-C Ø110 130 W Amalgam | H |
| F990107 | End cap with lamp retainer 32 mm | F |
| B290020 | Reduction piece 63/63 for flow switch | I |
| E801220 | Flow Switch for 130 W Amalgam | P |
| 4800079 | Replacement for housing 130 W Amalgam | - |
| E801146 | Mounting bracket 110 mm black | K |
| *Optional |  |  |
| B290177 | Tapping saddle 50x3/4" male thread for flow switch | V |
| B290170 | Tapping saddle 63x3/4" male thread for flow switch | V |
| B290176 | Tapping saddle 75x3/4" male thread for flow switch | V |