Xclear – Professional UV-C

Professional UV-C besteht aus sehr hochwertigen Komponenten und ist mit einer Philips PL UV-C-Lampe ausgestattet.

• Garantiert maximale Leistungen und Lebensdauer.

• Edelstahlgehäuse für maximale Lebensdauer.

• Einschließlich 63-mm-Klebeverbindung aus PVC mit Adapter für 50 mm/1½”-Innengewinde.

• Einschließlich Schlauchtüllen (1½” – 40/32/25 mm).

| Art.Nr. | Typ | UV-C Lampe | Max. Teich | Max. Durchfluss | Max. Druck |
| --- | --- | --- | --- | --- | --- |
| XH01183 | Professional UV-C 18 W | 18 W PL-L | 15.000 l | 6.000 l/h | 2 bar |
| XH01362 | Professional UV-C 36 W | 36 W PL-L | 35.000 l | 10.000 l/h | 2 bar |
| XH01552 | Professional UV-C 55 W | 55 W PL-L | 55.000 l | 15.000 l/h | 2 bar |

Professional UV-C Ersatzteile

| Item No. | Type | Part |
| --- | --- | --- |
| XH01182 | Xclear Professional UV-C 18 W |  |
| XH01362 | Xclear Professional UV-C 36 W |  |
| XH01552 | Xclear Professional UV-C 55 W |  |
| 3903030 | Lamp Philips TUV PL-L 18 W /4P Base B | A |
| 3903040 | Lamp Philips TUV PL-L 36 W /4P Base B | A |
| 3903050 | Lamp Philips TUV PL-L 55 W /4P Base B | A |
| QG008 | Quartz Glass VSC 280 x 44 mm 18 W AM | C |
| QG009 | Quartz Glass VSC 461 x 44 mm 36 W AM | C |
| QG022 | Quartz Glass VSC 603 x 44 mm 55 W AM | C |
| 3902041 | O-ring 56 x 3 mm UV-C | B |
| EP036001 | Electrics for 18/36 W Professional 230 V | G |
| EP055001 | Electrics for 55 W Professional | G |
| 3903673 | Housing 18 W Professional UV-C | H |
| 3903674 | Housing 36 W Professional UV-C | H |
| 3903675 | Housing 55 W Professional UV-C | H |
| E800940 | 3-way connection 63 mm black | D |
| E800941 | O-ring for 3-way connection 63 mm | J |
| F990115 | Reduction piece 1,5" wire x 63 out 50 in | F |
| 3902046 | Sealing ring 1½" | I |
| E801128 | Universal adaptor 1½" 40 x 32 x 25 mm clear | E |
| 4800069 | Replacement set for housing Professional UV-C | - |
| 3901045 | Nut 70mm x 33.5mm black | L |
| SP0073 | O-ring EPDM 59.99x2.62 Quartz Glass Stabilizer End cap black 32mm | K |